## Title
DanuP-2-Gas
Innovative model to drive energy security and
diversity in the Danube Region via combination of bioenergy
with surplus renewable energy
Deliverable D.T2.2.2
Transnational Infrastructure
Database
SERBIA
31.05.2022.

## Log
Version | Date | Author | Organization | Description
v1 | 26.10.2020 | Kiril Raytchev | BSERC | Initial version
v2 | 05.11.2020 | Kiril Raytchev | BSERC | Suggestions from the Supervisory board meeting (03.11.2020)
v3 | 21.12.2020 | Kiril Raytchev | BSERC | Suggestions from PP12 and LP
v4 | 21.01.2021 | Kiril Raytchev | BSERC | Internal call for feedback. See Meeting-minutes-20210127_V2 and Meeting-minutes-20210121
v5beta | 09.04.2021, 19.04.2021 | Kiril Raytchev | BSERC | Public call for feedback. See Meeting minutes-20210409; See Meeting minutes 20210419
v5 | 27.04.2021 | Kiril Raytchev | BSERC | Final template design acceptance. See Meeting minutes-20210427;
v6 | 31.12.2021 | Kiril Raytchev | BSERC | Synching with the Interface of the Optimization tool; Added prices for biochar; Added water codes for transport hubs; Edited some fields and dropped others; Accompanying versions of other templates: V6_D.T2.1.2_Biomass Database_COUNTRY; V5_D.T2.2.1_Infrastructure Report_COUNTRY; V4_D.T2.1.1_Biomass Report_COUNTRY; V1_Pre-feasibility Study__COUNTRY
v6-1 | 22.02.2022 | Kiril Raytchev | BSERC | Minor fixes in table column names of Table-IP-2of3 and Table-REP-2of3. Now these are in synch with table definitions: Definition-REP and Definition-IP

## Definition-REP
Renewable Energy Plant (REP) Table Definition
| Category | Description
Identification | REP-Number | For counting and reference purposes.
| Type | See REP types*. REPs are considered as candidates for P2G colocations. P, W and Bm plants of over 1 MW power are of interest. Bg > 500 kW, and H > 10 MW. O type plants could be for production of biochar etc.
| Owner Address | Company address of plant owner.
| Name | Short name of the REP (location or plant name)
| Location long | Longitude coordinate
| Location lat | Latitude coordinate
Electricity | Power | Power [MW kW]. Eligible for: P, H, W, Bm, Bg, O
| Production | Average annual production [MWh]. Eligible for: P, H, W, Bm, Bg, O
| Status | [%] free capacity (not utilized / surplus)
Heat | Power | Heat power [MWt]. Eligible for: Bm, Bg, O
| Production / Consumption | Average annual heat production (+) / consumption (-). In case the REP consumes - the number should be negative and vice versa. [MWht]. Eligible for: Bm, Bg, O
| Price | [€ / MWht]. If the REP consumes - the price should be negative and vice versa. In case it is a waste heat - the price should be set to 0.
| Status | [%] free capacity (not utilized / surplus)
Biomethane | Capacity | Flow rate [m3/h]. Power [kWh/h] Eligible for: Bg, O
| Production | Average annual production [kWh m3 ]. Eligible for: Bg, O
| Status | [%] free capacity (not utilized / surplus)
Biochar | Production | Average annual production [tons]. Eligible for: Bm, O
| Price | [€ per ton]
| Status | [%] free capacity (not utilized / surplus)
Connection points** | CP 1 | Reference to the Connection points table [CP-Number] e.g. electrical grid; substation availability
| CP 2 | Reference to the Connection points table [CP-Number] e.g., natural gas grid
| CP 3 | Reference to the Connection points table [CP-Number] e.g. water grid: rivers, lakes, town water system, drill well, etc.
Transport hubs | TH 1 | Reference to the Transport hub table (e.g. sea port) [TH-Number].
| TH 2 | Reference to the Transport hub table (e.g. train station) [TH-Number].
(*) REP types
| REP | Types
| Renewable energy plant | Photovoltaic (P)
Hydro (H)
Wind (W)
Biomass (Bm)
Biogas (Bg)
Other (O)
(**) Connection points
| CP | Description
| CP-Number | A connection point may refer to a connection to the electrical, gas, and water grid. A P2G hub will utilize such connection point. Only heating CP type is optional.
(***) Legend:
Mandatory fields -

## Table-REP-1of3
Identification
REP-ID | Type | Owner Address | Name | Location long | Location lat
REP-1 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | DJerdap 2 | 22.5598 | 44.3021
REP-2 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | DJerdap 1 | 22.5296 | 44.6709
REP-3 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | Vrla 1 | 22.2833 | 42.6739
REP-4 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | Vrla 2 | 22.249 | 42.6905
REP-5 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | Vrla 3 | 22.1633 | 42.6726
REP-6 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | Vrla 4 | 22.0498 | 42.6721
REP-7 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | Pirot | 22.6108 | 43.1552
REP-8 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | HE PotpeC | 19.5779 | 43.5242
REP-9 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | HE Uvac | 19.9305 | 43.4225
REP-10 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | HE Bistrica | 19.6552 | 43.4706
REP-11 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | HE Kokin Brod | 19.8119 | 43.5188
REP-12 | Hydro (H) | JP EPS BEOGRAD, Balkanska 13, Beograd-Stari Grad | HE Bajina BaSta | 19.4104 | 43.9641
REP-13 | Photovoltaic (P) | SOLAR MATAROVA d.o.o., ZELEZNICKA 62D, Alibunar | SOLAR MATAROVA | 21.256 | 42.9549
REP-14 | Wind (W) | VETROPARK KULA DOO, BULEVAR MIHAJLA PUPINA 115E, Beograd | Kula | 19.5784 | 45.6381
REP-15 | Wind (W) | ENERGOBALKAN DOO, BULEVAR MIHAILA PUPINA 115 E VII, Beograd | La Piccolina | 21.2165 | 44.9945
REP-16 | Wind (W) | Electrawinds Mali WF d.o.o. Vladimira PopoviCa 8, Beograd-Novi Beograd | Malibunar | 20.9381 | 45.0688
REP-17 | Wind (W) | Electrawinds K-Wind doo, Vladimira PopoviCa 8, Beograd-Novi Beograd | KovaCica | 20.6978 | 45.0789
REP-18 | Wind (W) | ELECTRAWINDS -S DOO, Vladimira PopoviCa 8, NOVI BEOGRAD | VE ALIBUNAR | 20.8987 | 45.0575
REP-19 | Wind (W) | VETROELEKTRANE BALKANA DOO, DJure JakSiCa 6 Beograd, Beograd | Cibuk 1 | 20.9395 | 44.9289
REP-20 | Wind (W) | MK -FINTEL WIND AD, BULEVAR MIHAILA PUPINA 115 E, Beograd | KoSava | 21.2255 | 44.9935
REP-21 | Biogas (Bg) | Biospringer RS d.o.o. KaraDJorDJeva 121, Senta | Allteh | 20.102 | 45.9055
REP-22 | Biogas (Bg) | DOO LAZAR, Kralja Petra 1/6, Blace | Lazar | 21.2964 | 43.2959
REP-23 | Biogas (Bg) | Mirotin-Energo doo, Vinogradska kosa bb, Vrbas | Mirotin 1 | 19.6664 | 45.577
REP-24 | Biogas (Bg) | Global Seed d.o.o. GospoDJinaCka 1a, Curug | Curug 1 | 20.0503 | 45.4602
REP-25 | Biogas (Bg) | Mirotin-Energo doo, Vinogradska kosa bb, Vrbas | Mirotin 2 | 19.6664 | 45.577
REP-26 | Biogas (Bg) | BIOELEKTRANA DOO, Piperski Zorana bb, BOTOS | Bioelektra | 20.6315 | 45.2975
REP-27 | Biogas (Bg) | BIOGAS ENERGY doo, Ekonomija bb, Alibunar | Alibunar | 20.9309 | 45.1619
REP-28 | Biogas (Bg) | BGS GAMA BP, BaCka 3, BaC | BGS GAMA BP | 19.2471 | 45.4003
REP-29 | Biogas (Bg) | BGS BETA BP, BaCka 3, BaC | BGS BETA BP | 19.2471 | 45.4003
REP-30 | Biogas (Bg) | GAKOVAC DOO STARA MORAVICA, Somborski put bb, Stara Moravica | Gakovac | 19.4782 | 45.8512
REP-31 | Biogas (Bg) | BIOENERGO 808 DOO, Vuka KaradZiCa 39, Stara Pazova | Bioenergo 808 | 20.2362 | 44.9903
REP-32 | Biogas (Bg) | BGS ALFA BP, BaCka 3, BaC | BGS ALFA BP | 19.2471 | 45.4003
REP-33 | Biogas (Bg) | BIOELEKTRO -NAK MarSala Tita 22 CESTEREG | Bioeletro-NAK | 20.5381 | 45.5723
REP-34 | Biogas (Bg) | Global Seed d.o.o. GospoDJinaCka 1a, Curug | Curug 2 | 20.0503 | 45.4602
REP-35 | Biogas (Bg) | ENVIGAS ALFA DOO Vojvode Putnika 79 Sremska Kamenica | ENVIGAS ALFA | 20.0242 | 46.1097
REP-36 | Biogas (Bg) | ENVIGAS BETA DOO Vojvode Putnika 79 Sremska Kamenica | ENVIGAS BETA | 20.0242 | 46.1097
REP-37 | Biogas (Bg) | Agro Plus Energy, VELJKA MICUNOVICA 16, Sombor | Agro Plus Energy | 19.1829 | 45.8472
REP-38 | Biogas (Bg) | ENERGO -ORAHOVO DOO, TornjoSki put 2, Novo Orahovo, BaCka Topola | Energo Orahovo | 19.7872 | 45.8513
REP-39 | Biogas (Bg) | AD BuduCnost, Gajdobranski put BB, BaCka Palanka | BuduCnost | 19.4127 | 45.2562
REP-40 | Biogas (Bg) | PANAWISS PLUS BIOGAS, SeliSte bb, Coka | PANAWISS PLUS BIOGAS 530kW | 20.1805 | 45.8296
REP-41 | Biogas (Bg) | BIO PAN GAS doo, Partizanski put 54, SeCanj | BIO PAN GAS | 20.7623 | 45.3692
REP-42 | Biogas (Bg) | DOO PET MB AGRAR, KAMENOVA BB, SUBOTISTE | Elektrana na biogas DOO PET MB AGRAR SUBOTISTE 999kW | 19.9532 | 44.8523
REP-43 | Biogas (Bg) | BIOENERGO PARTNER MD DOO, MIKE VITOMIROVICA 22, BogatiC | Elektrana na biogas JARAK 1, 999kW | 19.7837 | 44.93
REP-44 | Biogas (Bg) | ZLATAR DOO, ZADRUZNA 6, MRAMORAK | Mramorak 1 | 20.9567 | 44.8826
REP-45 | Biogas (Bg) | DRLJA 1967 DOO, KRALJA PETRA I 36, BACKA PALANKA | Drlja | 19.4111 | 45.2666
REP-46 | Biogas (Bg) | VINEX ETIL DOO, Ivana MarkoviCa Iraca bb, LUKICEVO | VINEX ETIL BIOGAS | 20.5073 | 45.3407
REP-47 | Biogas (Bg) | Bio Gold Energy doo, ZADRUZNA 6, Mramorak | Mramorak 2 | 20.9567 | 44.8826
REP-48 | Biogas (Bg) | SM Energy doo, PALANKA 95, Sremska Mitrovica | Elektrana na biogas SM Energy | 19.66 | 44.9635
REP-49 | Biogas (Bg) | Pepo Energy doo, JUZNA INDUSTRISKA ZONA 17, Novo MiloSevo | Elektrana na biogas Novo MiloSevo | 20.2763 | 45.6939
REP-50 | Biomass (Bm) | GREEN ENERGY POINT DOO, Francuska 6, Beograd | GREEN ENERGY POINT Boljevac | 21.9493 | 43.8315

## Table-REP-2of3
| Electricity |  | Heat |  |  | Biomethane |  | Biochar
| kW | MWh | MWt | MWht | € / MWht | kWh/h | kWh | tons | € per ton
REP-ID | Power | Production | Power | Production / Consumption | Price | Capacity | Production | Production | Price
REP-1 | 270000 | 1504000
REP-2 | 1083000 | 5489000
REP-3 | 50660 | 95000
REP-4 | 24000 | 51000
REP-5 | 29370 | 73000
REP-6 | 24800 | 63000
REP-7 | 80000 | 87000
REP-8 | 54000 | 98000
REP-9 | 36000 | 65000
REP-10 | 102000 | 450000
REP-11 | 22500 | 48000
REP-12 | 420000 | 1819000
REP-13 | 2000 | 2500
REP-14 | 9900 | 28000
REP-15 | 6600 | 20000
REP-16 | 8000 | 24000
REP-17 | 104500 | 298000
REP-18 | 42000 | 115000
REP-19 | 158460 | 445000
REP-20 | 68000 | 190000
REP-21 | 1738 | 13000 | 1820
REP-22 | 999 | 7000 | 1179
REP-23 | 990 | 7000 | 910
REP-24 | 635 | 4000 | 675
REP-25 | 500 | 3000 | 500
REP-26 | 600 | 4000 | 650
REP-27 | 3570 | 27000 | 2028
REP-28 | 650 | 4000 | 677
REP-29 | 650 | 4000 | 677
REP-30 | 2000 | 15000 | 1800
REP-31 | 637 | 4000 | 675
REP-32 | 650 | 4000 | 677
REP-33 | 637 | 4000 | 675
REP-34 | 635 | 4000 | 675
REP-35 | 800 | 6000 | 785
REP-36 | 800 | 6000 | 785
REP-37 | 999 | 7000 | 1179
REP-38 | 999 | 7000 | 1179
REP-39 | 999 | 7000 | 1179
REP-40 | 530 | 4000 | 500
REP-41 | 999 | 7000 | 1179
REP-42 | 999 | 7000 | 1179
REP-43 | 999 | 7000 | 1179
REP-44 | 999 | 7000 | 1179
REP-45 | 999 | 7000 | 1179
REP-46 | 2126 | 16000 | 1846
REP-47 | 999 | 7000 | 1179
REP-48 | 999 | 7000 | 1179
REP-49 | 1203 | 9000 | 1440
REP-50 | 2380 | 18000 | 2590

## Table-REP-3of3
| Connection points |  |  | Transport hubs
REP-ID | CP 1 | CP 2 | CP 3 | TH 1 | TH 2
REP-1 | 179 |  |  | 5 | 20
REP-2 | 3 |  |  | 5 | 20
REP-3 | 23 |  |  | 21 | 22
REP-4 | 23 |  |  | 21 | 22
REP-5 | 23 |  |  | 21 | 22
REP-6 | 23 |  |  | 21 | 22
REP-7 | 31 |  |  | 29 | 27
REP-8 | 29 |  |  | 21 | 22
REP-9 | 29 |  |  | 21 | 22
REP-10 | 29 |  |  | 21 | 22
REP-11 | 23 |  |  | 21 | 22
REP-12 | 23 |  |  | 21 | 22
REP-13 | 124 |  |  | 11
REP-14 | 205 |  |  | 7 | 10
REP-15 | 194 |  |  | 11 | 4
REP-16 | 238 |  |  | 11 | 4
REP-17 | 9 | 8 |  | 11 | 4
REP-18 | 238 |  |  | 11 | 4
REP-19 | 9 | 2 |  | 11 | 4
REP-20 | 194 |  |  | 11 | 4
REP-21 | 214 |  |  | 9
REP-22 | 119 |  |  | 29
REP-23 | 224 |  |  | 10 | 7
REP-24 | 226 |  |  | 2 | 10
REP-25 | 224 |  |  | 10 | 7
REP-26 | 233 |  |  | 11 | 4
REP-27 | 253 |  |  | 11 | 4
REP-28 | 239 |  |  | 6 | 12
REP-29 | 239 |  |  | 6 | 12
REP-30 | 239 |  |  | 10 | 7
REP-31 | 207 |  |  | 14 | 1
REP-32 | 239 |  |  | 6 | 12
REP-33 | 193 |  |  | 11 | 1
REP-34 | 226 |  |  | 2 | 10
REP-35 | 222 |  |  | 9
REP-36 | 222 |  |  | 9
REP-37 | 217 |  |  | 7 | 10
REP-38 | 191 |  |  | 10
REP-39 | 240 |  |  | 6 | 12
REP-40 | 189 |  |  | 9
REP-41 | 245 |  |  | 11 | 1
REP-42 | 212 |  |  | 1 | 14
REP-43 | 93 |  |  | 13
REP-44 | 230 |  |  | 3
REP-45 | 239 |  |  | 6 | 12
REP-46 | 233 |  |  | 11 | 1
REP-47 | 230 |  |  | 3
REP-48 | 250 |  |  | 13 | 6
REP-49 | 206 |  |  | 9 | 11
REP-50 | 88 |  |  | 20 | 25

## Definition-IP
Industrial Plant (IP) Table Definition
| Category | Description
Identification | IP-Number | For counting and reference purposes.
| Type | See IP types*. IPs are considered as candidates for P2G colocations. Plants with power > 1 MW are of interest; Top 3-5 bigges NG consumers in country.
| Owner Address | Company address of plant owner.
| Name | Short name of the IP (location or plant name)
| Location long | Longitude coordinate
| Location lat | Latitude coordinate
Electricity | Power | Power [MW kW].
| Consumption | Average annual consumption [MWh].
Heat | Power | Heat power [MWt].
| Price | [€ / MWht] If the IP consumes - the price should be negative and vice versa. In case it is a waste heat - the price should be set to 0.
| Production / Consumption | Average annual heat production (+) / consumption (-). In case the IP consumes - the number should be negative and vice versa. [MWht].
(Renewable) Natural gas | Power | Flow rate [m3/h].[kWh/h]
| Consumption | Average annual consumption [m3]. [kWh]
Connection points** | CP 1 | Reference to the Connection points table [CP-Number] e.g. electrical grid
| CP 2 | Reference to the Connection points table [CP-Number] e.g., natural gas grid
| CP 3 | Reference to the Connection points table [CP-Number] e.g. water grid
Transport hubs | TH 1 | Reference to the Transport hub table (e.g. sea port) [TH-Number].
| TH 2 | Reference to the Transport hub table (e.g. train station) [TH-Number].
(*) IP types
| IP | Types
| Industrial plant | Refinery
Chemical
Other
(**) Connection points
| CP | Description
| CP-Number | A connection point may refer to a connection to the electrical, gas, water and/or heating grids. A P2G hub will utilize such connection points. Only heating CP type is optional.
(***) Legend:
Mandatory fields -

## Table-IP-1of3
Identification
IP-ID | Type | Owner Address | Name | Location long | Location lat
IP-1 | Chemical | DOO PROMIST, Privrednikova 6, Novi Sad | Azotara PanCevo | 20.6684 | 44.8422
IP-2 | Other | CRVENKA FABRIKA SECERA AD, Masarikova7, Crvenka | Sugar factory Crvenka | 19.4363 | 45.6619
IP-3 | Other | LAFARGE BFC INVESTMENTS FRANCE, Des Belles Feuilles 61R, Pariz, France | Lafarge Serbia | 19.7126 | 45.2067
IP-4 | Other | New-Silkroad (Hong Kong) Holding Co. Limited, Zhonghuan Huanghou Dadao zhong 9/27/2705, Hong Kong | Steel factory Smederevo | 20.972 | 44.6046
IP-5 | Other | CRH Serbia Holdings UK Ltd, Hill Dickinson LLP, Paul s Square 1, Liverpul, England | Cement factory Moravacem | 21.5078 | 43.9081
IP-6 | Refinery | NIS a.d. Novi Sad, Narodnog fronta 12, Novi Sad | Oil refinery PanCevo | 20.6827 | 44.83

## Table-IP-2of3
| Electricity |  | Heat |  |  | Natural gas
| kW | MWh | MWt | MWht | € / MWht | kWh/h | kWh
IP-ID | Power | Consumption | Power | Production / Consumption | Price | Power | Consumption
IP-1 | 35000 | 203197000 |  |  |  | 659375
IP-2 | 10000 | 66617000 |  |  |  | 136066
IP-3 | 30000 | 187060000 |  |  |  | 0
IP-4 | 125000 | 735019000 |  |  |  | 140667
IP-5 | 35000 | 215082000 |  |  |  | 50333
IP-6 | 45000 | 296414000 |  |  |  | 0

## Table-IP-3of3
| Connection points |  |  | Transport hubs
IP-ID | CP 1 | CP 2 | CP 3 | TH 1 | TH 2
IP-1 | 211 | 261 |  | 4
IP-2 | 196 | 265 |  | 10 | 7
IP-3 | 241 |  |  | 8 | 12
IP-4 | 17 | 266 |  | 3 | 18
IP-5 | 145 | 188 | 264 | 25 | 19
IP-6 | 62 |  |  | 4

## Definition-CP
Connection point (CP) Table Definition
| Category | Description
Identification | CP-Number | For counting and reference purposes. | **
| Type | See CP types*
| Owner Address | Company address of connection point owner.
| Name | Short name of the CP (location or other relevant name)
| Location long | Longitude coordinate
| Location lat | Latitude coordinate
Electricity | Voltage Type | Either HV or MV. HV means higher than 110 kV and MV means lower than 110 kV. Can be of either Transmission or Distribution type [Transmission ¦ Distribution]
| CP-Number | [km]. Distance to nearest natural gas connection point. Exit Connection points
Natural gas | Pressure Type | Pressure [Pa]. Can be of either Transmission or Distribution type [Transmission ¦ Distribution]
Water | Flow rate | [m3/h]. Should be over 1 m3/h.
(*) CP types
| CP | Types
| Connection point types | Electricity
Water
Natural gas
(**) Legend:
Mandatory fields -

## Table-CP-1of2
Identification
CP-ID | Type | Owner Address | Name | Location long | Location lat
CP-1 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Mladost | 20.1137 | 44.6857
CP-2 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Drmno | 21.2073 | 44.7294
CP-3 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Djerdap 1 | 22.5242 | 44.6653
CP-4 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Subotica 3 | 19.7146 | 46.0393
CP-5 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Sombor 3 | 19.1674 | 45.7675
CP-6 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Srbobran | 19.7682 | 45.538
CP-7 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Novi Sad 3 | 19.8451 | 45.3403
CP-8 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Zrenjanin 2 | 20.3971 | 45.413
CP-9 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Pancevo 2 | 20.6669 | 44.8301
CP-10 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Sremska Mitrovica 2 | 19.6129 | 45.017
CP-11 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | BGD 20 | 20.5439 | 44.7995
CP-12 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | NIS | 21.97 | 43.3025
CP-13 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | HIP 2 | 20.6755 | 44.8342
CP-14 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | BGD 5 | 20.3836 | 44.8232
CP-15 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | BGD 17 | 20.3671 | 44.8616
CP-16 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | BGD 3 | 20.4676 | 44.7209
CP-17 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Smederevo 3 | 20.9636 | 44.5966
CP-18 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Sabac 3 | 19.7382 | 44.716
CP-19 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Obrenovac | 20.1707 | 44.6657
CP-20 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Valjevo 3 | 19.9372 | 44.2955
CP-21 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Kragujevac 2 | 20.9228 | 44.059
CP-22 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Bor 2 | 22.1234 | 44.0548
CP-23 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Bajina Basta | 19.5 | 43.9531
CP-24 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Pozega | 20.0444 | 43.8237
CP-25 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Cacak 3 | 20.406 | 43.8475
CP-26 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Jagodina 4 | 21.294 | 43.9549
CP-27 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Kraljevo 3 | 20.7396 | 43.6802
CP-28 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Krusevac 1 | 21.2848 | 43.5859
CP-29 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Bistrica | 19.7386 | 43.5173
CP-30 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Nis 2 | 21.9715 | 43.3018
CP-31 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Leskovac 2 | 21.9841 | 42.9766
CP-32 | Electricity | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Vranje 4 | 21.9181 | 42.4929
CP-33 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TE-TO NOVI BEOGRAD | 20.4118 | 44.8005
CP-34 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 1 (35kV) | 20.5189 | 44.8128
CP-35 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | MLADENOVAC | 20.6985 | 44.4249
CP-36 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TE KOLUBARA | 20.2922 | 44.4818
CP-37 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 1 (10KV) | 20.5195 | 44.8131
CP-38 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 10 | 20.2215 | 44.642
CP-39 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 11 | 20.4628 | 44.7438
CP-40 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 12 - FOB | 20.3921 | 44.8048
CP-41 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 13 - VOZDOVAC | 20.4909 | 44.754
CP-42 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 14 - KALEMEGDAN | 20.4594 | 44.8205
CP-43 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 15 - SLAVIJA | 20.4683 | 44.8027
CP-44 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 16 - FILMSKI GRAD | 20.4239 | 44.7429
CP-45 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 18 - RALJA | 20.5708 | 44.5706
CP-46 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 19 - MIRIJEVO | 20.5276 | 44.7956
CP-47 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 2 | 20.4071 | 44.7648
CP-48 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 21 | 20.4101 | 44.7451
CP-49 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 22 | 20.2423 | 44.6545
CP-50 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 23, AUTOKOMANDA | 20.471 | 44.7876
CP-51 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 27 - BEZANIJA | 20.3844 | 44.8125
CP-52 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 28 - PIONIR | 20.4921 | 44.8167
CP-53 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 32 | 20.3706 | 44.7727
CP-54 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 33 - KALUDJERICA | 20.5646 | 44.7449
CP-55 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 35 - SREMCICA | 20.3894 | 44.6757
CP-56 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 36 - OBILIC | 20.4914 | 44.7925
CP-57 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 38 | 20.4138 | 44.7652
CP-58 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 4 | 20.5039 | 44.7797
CP-59 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 40 - SAVA CENTAR | 20.4371 | 44.8115
CP-60 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 41 | 20.4125 | 44.8185
CP-61 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 45 | 20.4443 | 44.8017
CP-62 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 5 | 20.3858 | 44.8229
CP-63 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 6 | 20.4691 | 44.8153
CP-64 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 7 | 20.4917 | 44.8425
CP-65 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BEOGRAD 9 | 20.3237 | 44.861
CP-66 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | MEI TA | 20.2422 | 44.6559
CP-67 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | DIVLJE POLJE | 20.9198 | 44.032
CP-68 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | ILICEVO | 20.9534 | 44.028
CP-69 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | LAPOVO | 21.0951 | 44.1628
CP-70 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | METINO BRDO | 20.9284 | 43.9942
CP-71 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NERESNICA 110/35 | 21.7213 | 44.4416
CP-72 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | PETROVAC | 21.4021 | 44.3958
CP-73 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | POZAREVAC | 21.1894 | 44.6536
CP-74 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | RIBES | 20.7474 | 43.9358
CP-75 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | SLOVACKO GROBLJE | 20.8827 | 44.0107
CP-76 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | STRAGARI | 20.6736 | 44.1583
CP-77 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 KV "SMEDEREVO 4" | 20.9403 | 44.6702
CP-78 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "SMEDEREVO 1" | 20.9456 | 44.6502
CP-79 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "SMEDEREVO 2" | 20.9277 | 44.6429
CP-80 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV SMEDEREVSKA PALANKA | 20.9437 | 44.3559
CP-81 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV VELIKA PLANA | 21.0787 | 44.3178
CP-82 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VELIKO GRADISTE | 21.517 | 44.7319
CP-83 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | EVP BRODAREVO | 19.7232 | 43.2436
CP-84 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 KV JAGODINA 2 | 21.2518 | 43.974
CP-85 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 KV KRALJEVO 5 | 20.6802 | 43.7301
CP-86 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 kV KRALJEVO 6 (RIBNICA) | 20.6842 | 43.7187
CP-87 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 KV NOVI PAZAR 2 | 20.5286 | 43.1493
CP-88 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/10 KV PARACIN 3 - SFS | 21.4261 | 43.8634
CP-89 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV BOGATIC | 19.4932 | 44.8205
CP-90 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV SABAC 5 | 19.6815 | 44.7816
CP-91 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 kV JAGODINA 3 | 21.2626 | 43.9873
CP-92 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV VRNJACKA BANJA | 20.9047 | 43.6307
CP-93 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/35 KV M.MITROVICA | 19.5913 | 44.9637
CP-94 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/25 KV EVP KRALJEVO | 20.7385 | 43.7299
CP-95 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/25 KV EVP SLOVAC | 20.091 | 44.3453
CP-96 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/25 KV EVP SUSICA | 19.7559 | 43.7871
CP-97 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV ARILJE | 20.1 | 43.7578
CP-98 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV CACAK 1 | 20.3668 | 43.8669
CP-99 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV CICEVAC | 21.4342 | 43.7031
CP-100 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV CUPRIJA | 21.3858 | 43.9303
CP-101 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV GORNJI MILANOVAC | 20.4889 | 44.0389
CP-102 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV GUCA | 20.2336 | 43.7881
CP-103 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV JAGODINA 1 - MAJUR | 21.295 | 43.9512
CP-104 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV JANJA | 19.2436 | 44.6561
CP-105 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV KOSJERIC | 19.9223 | 44.0053
CP-106 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV KRALJEVO 1 | 20.6132 | 43.7133
CP-107 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV KRUPANJ | 19.3808 | 44.363
CP-108 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV LAZAREVAC OCAGA | 20.2351 | 44.3868
CP-109 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV LOZNICA | 19.1955 | 44.533
CP-110 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV MALI ZVORNIK | 19.11 | 44.3736
CP-111 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV NOVA VAROS | 19.8199 | 43.4565
CP-112 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV NOVI PAZAR 1 | 20.5322 | 43.1656
CP-113 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV OSECINA | 19.6041 | 44.3842
CP-114 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV PARACIN 1 - GLAVICA | 21.4403 | 43.8661
CP-115 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV PRIJEPOLJE | 19.6196 | 43.3615
CP-116 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV RASKA | 20.6152 | 43.3156
CP-117 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV SABAC 1 | 19.7208 | 44.7429
CP-118 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV SEVOJNO | 19.8893 | 43.8442
CP-119 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV SJENICA | 19.9748 | 43.2794
CP-120 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV SUSICA (CAJETINA) | 19.756 | 43.7863
CP-121 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV TAMNAVA VREOCI | 20.2777 | 44.4543
CP-122 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV TAMNAVA ZAPADNO POLJE | 20.179 | 44.4232
CP-123 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV UZICE 1 - PORA | 19.8304 | 43.8656
CP-124 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV VALAC | 20.8237 | 42.9286
CP-125 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV VALJEVO 1 | 19.9221 | 44.2813
CP-126 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV VALJEVO 2 | 19.871 | 44.2736
CP-127 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV ZLATIBOR 2 | 19.704 | 43.7169
CP-128 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 UZICE SABIRNICE 110 KV | 19.8307 | 43.8658
CP-129 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KOPAONIK | 20.8011 | 43.2852
CP-130 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV ALEKSANDROVAC | 21.0758 | 43.4586
CP-131 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV CACAK 2 | 20.3458 | 43.882
CP-132 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV IVANJICA | 20.2052 | 43.6039
CP-133 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV KRALJEVO 2 | 20.7132 | 43.7225
CP-134 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV KRUSEVAC 2 DEDINA | 21.3548 | 43.5958
CP-135 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV KRUSEVAC 4 - 14.OKTOBAR | 21.3184 | 43.5909
CP-136 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV LESNICA | 19.3222 | 44.6564
CP-137 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV LJUBOVIJA | 19.3607 | 44.1978
CP-138 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV STENJEVAC | 21.5254 | 44.0863
CP-139 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV TOPOLA | 20.6978 | 44.2486
CP-140 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/10 KV TRSTENIK | 21.006 | 43.6122
CP-141 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV SABAC 2 | 19.6729 | 44.7386
CP-142 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 LJIG | 20.2563 | 44.2407
CP-143 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20/10 KV ARANDJELOVAC | 20.5414 | 44.3184
CP-144 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/6 KV FABRIKA CEMENTA KOSJERIC | 19.8907 | 44.0114
CP-145 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/6 KV POPOVAC | 21.5075 | 43.9063
CP-146 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/6 KV SABAC 4 | 19.7204 | 44.7455
CP-147 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 220/110/35 KV POZEGA SABIRNICE 110 kV | 20.0441 | 43.8235
CP-148 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | ALEKSINAC | 21.709 | 43.5245
CP-149 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BELO POLJE 110/35/10 | 22.1563 | 42.7002
CP-150 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BOR 1 110/35 | 22.1018 | 44.0762
CP-151 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BOR 3 110/5 | 22.0883 | 44.0603
CP-152 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BOSILEGRAD | 22.4679 | 42.4988
CP-153 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | BUJANOVAC | 21.7556 | 42.4685
CP-154 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | DIMITROVGRAD | 22.7319 | 43.0185
CP-155 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | EVP GRDELICA | 22.0509 | 42.9046
CP-156 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | EVP RISTOVAC | 21.8452 | 42.4695
CP-157 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | IHP PRAHOVO | 22.6026 | 44.2848
CP-158 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | JABLANICA | 21.7543 | 42.9343
CP-159 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | KNJAZEVAC | 22.2483 | 43.5802
CP-160 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | KURSUMLIJA | 21.2939 | 43.1406
CP-161 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | LESKOVAC 1 | 21.9491 | 43.0091
CP-162 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | LESKOVAC 4 | 21.9415 | 43.0026
CP-163 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | LESKOVAC 6 | 21.9598 | 42.9886
CP-164 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | MAJDANPEK 1 110/35/6 | 21.9336 | 44.3961
CP-165 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | MAJDANPEK 2 110/35 | 21.9088 | 44.3805
CP-166 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NEGOTIN | 22.5417 | 44.2478
CP-167 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 1 | 21.834 | 43.3154
CP-168 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 10 | 21.8827 | 43.3404
CP-169 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 13 | 21.9379 | 43.3365
CP-170 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 15 - DOLJEVAC | 21.856 | 43.1953
CP-171 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 3 | 21.9116 | 43.3104
CP-172 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 5 | 21.9909 | 43.2961
CP-173 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | NIS 8 | 21.8626 | 43.3112
CP-174 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | PIROT 1 110/35 | 22.5711 | 43.1596
CP-175 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | PIROT 2 110/35 | 22.6142 | 43.1499
CP-176 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | PRESEVO | 21.6704 | 42.3019
CP-177 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | PROKUPLJE | 21.574 | 43.2289
CP-178 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | RISTOVAC | 21.8451 | 42.4692
CP-179 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | RP DJERDAP 2 | 22.5649 | 44.2979
CP-180 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | SIP | 22.5242 | 44.6652
CP-181 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | SVRLJIG 110/35 | 22.1586 | 43.401
CP-182 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VELIKI KRIVELJ | 22.1008 | 44.1099
CP-183 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VLADICIN HAN | 22.0549 | 42.676
CP-184 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VLASOTINCE | 22.1083 | 42.9668
CP-185 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VRANJE 1 110/35 | 21.8977 | 42.5393
CP-186 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | VRANJE 2 110/35/10 | 21.9041 | 42.549
CP-187 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | ZAJECAR 1 110/35 | 22.2787 | 43.9133
CP-188 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | ZAJECAR 2 110/35 | 22.2356 | 43.9062
CP-189 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "ADA" | 20.1035 | 45.7985
CP-190 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "APATIN" | 19.0098 | 45.6668
CP-191 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "BACKA TOPOLA 2" | 19.6543 | 45.8011
CP-192 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "BAJMOK" | 19.4231 | 45.9531
CP-193 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "BEGEJCI" | 20.6315 | 45.5114
CP-194 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "BELA CRKVA" | 21.4121 | 44.9067
CP-195 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "CELAREVO" | 19.5237 | 45.2788
CP-196 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "CRVENKA" | 19.4395 | 45.6666
CP-197 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "DEBELJACA" | 20.6192 | 45.0692
CP-198 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "FUTOG " | 19.7007 | 45.26
CP-199 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "INDJIJA 2" | 20.1109 | 45.0577
CP-200 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "INDJIJA" | 20.0708 | 45.038
CP-201 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "KACAREVO" | 20.6831 | 44.9579
CP-202 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "KANJIZA" | 20.0337 | 46.0484
CP-203 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "KIKINDA 2" | 20.4322 | 45.8204
CP-204 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "KOVIN" | 20.9499 | 44.7506
CP-205 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "KULA" | 19.5335 | 45.623
CP-206 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "NOVA CRNJA" | 20.6254 | 45.6772
CP-207 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "NOVA PAZOVA" | 20.1966 | 44.9555
CP-208 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "NOVI BECEJ" | 20.1534 | 45.5823
CP-209 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "ODZACI" | 19.2606 | 45.4949
CP-210 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "PALIC" | 19.7743 | 46.0897
CP-211 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "PANCEVO 4" | 20.6757 | 44.8611
CP-212 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "PECINCI" | 19.9607 | 44.8871
CP-213 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "RIMSKI SANCEVI" | 19.8269 | 45.3101
CP-214 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SENTA 1" | 20.0569 | 45.9304
CP-215 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SENTA 2" | 20.0935 | 45.9132
CP-216 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SID" | 19.241 | 45.121
CP-217 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SOMBOR 1" | 19.1432 | 45.7655
CP-218 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SOMBOR 2" | 19.0837 | 45.7848
CP-219 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SREMSKA MITROVICA 3" | 19.5812 | 44.9869
CP-220 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "STARA PAZOVA " | 20.172 | 44.9729
CP-221 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SUBOTICA 2" | 19.6906 | 46.0924
CP-222 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "SUBOTICA 4" | 19.6401 | 46.1089
CP-223 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "TEMERIN" | 19.9127 | 45.4114
CP-224 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "VRBAS 1" | 19.5924 | 45.5919
CP-225 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "VRBAS 2" | 19.6406 | 45.5828
CP-226 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 KV "ZABALJ" | 20.0435 | 45.3712
CP-227 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20 kV KRNJESEVCI | 20.1218 | 44.8813
CP-228 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "NOVI SAD 5" | 19.805 | 45.2601
CP-229 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "NOVI SAD 9" | 19.8786 | 45.2807
CP-230 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "PANCEVO 3" | 20.6521 | 44.8838
CP-231 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "VRSAC 2" | 21.2776 | 45.1221
CP-232 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "ZRENJANIN 3" | 20.3593 | 45.3795
CP-233 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/10 KV "ZRENJANIN 4" | 20.4109 | 45.3589
CP-234 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/35 KV "BACKA PALANKA 2" | 19.4151 | 45.2494
CP-235 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/35 KV "NOVI SAD 6" | 19.8831 | 45.2318
CP-236 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/20/35 KV "RUMA 2" | 19.7882 | 45.009
CP-237 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "ALIBUNAR" | 20.9472 | 45.0694
CP-238 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "BACKA PALANKA 1" | 19.4137 | 45.2709
CP-239 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "BACKA TOPOLA 1" | 19.6357 | 45.8345
CP-240 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "BFC" | 19.7098 | 45.2063
CP-241 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "KIKINDA 1" | 20.442 | 45.8035
CP-242 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "NOVI SAD 2" | 19.7993 | 45.2772
CP-243 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "NOVI SAD 4" | 19.8461 | 45.2728
CP-244 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35 KV "ZRENJANIN 1" | 20.4281 | 45.3851
CP-245 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "BECEJ" | 20.0152 | 45.6094
CP-246 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "NOVI SAD 1" | 19.8146 | 45.2173
CP-247 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "NOVI SAD 7" | 19.8133 | 45.2316
CP-248 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "RUMA 1" | 19.8542 | 45.0075
CP-249 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "SREMSKA MITROVICA 1" | 19.6508 | 44.9656
CP-250 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "SUBOTICA 1" | 19.684 | 46.0366
CP-251 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS 110/35/20 KV "VRSAC 1" | 21.2779 | 45.1057
CP-252 | Electricity | Elektrodistribucija Srbije doo Beograd, Bulevar umetnosti 12, Serbia | TS SAMOS | 20.7698 | 45.1957
CP-253 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Horgos | 20.0124 | 46.1747
CP-254 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Kikinda | 20.4441 | 45.8043
CP-255 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Banatski Dvor | 20.4745 | 45.5373
CP-256 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Elemir | 20.2654 | 45.4445
CP-257 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Zrenjanin | 20.4133 | 45.3746
CP-258 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Novi Sad | 19.8854 | 45.2687
CP-259 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Batajnica | 20.3777 | 44.8262
CP-260 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Pancevo | 20.6557 | 44.8796
CP-261 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Velika Plana | 21.0723 | 44.3301
CP-262 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Paracin | 21.4265 | 43.8651
CP-263 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Karadjordjevo brdo | 21.4265 | 43.8737
CP-264 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Gospodjinci | 20.0226 | 45.3804
CP-265 | Natural gas | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobodjenja 69, Serbia | Radinac | 20.9645 | 44.6227

## Table-CP-2of2
| Electricity | Natural Gas | Water
CP-ID | Type | Type | Flow rate
CP-1 | Transmission
CP-2 | Transmission
CP-3 | Transmission
CP-4 | Transmission
CP-5 | Transmission
CP-6 | Transmission
CP-7 | Transmission
CP-8 | Transmission
CP-9 | Transmission
CP-10 | Transmission
CP-11 | Transmission
CP-12 | Transmission
CP-13 | Transmission
CP-14 | Transmission
CP-15 | Transmission
CP-16 | Transmission
CP-17 | Transmission
CP-18 | Transmission
CP-19 | Transmission
CP-20 | Transmission
CP-21 | Transmission
CP-22 | Transmission
CP-23 | Transmission
CP-24 | Transmission
CP-25 | Transmission
CP-26 | Transmission
CP-27 | Transmission
CP-28 | Transmission
CP-29 | Transmission
CP-30 | Transmission
CP-31 | Transmission
CP-32 | Transmission
CP-33 | Distribution
CP-34 | Distribution
CP-35 | Distribution
CP-36 | Distribution
CP-37 | Distribution
CP-38 | Distribution
CP-39 | Distribution
CP-40 | Distribution
CP-41 | Distribution
CP-42 | Distribution
CP-43 | Distribution
CP-44 | Distribution
CP-45 | Distribution
CP-46 | Distribution
CP-47 | Distribution
CP-48 | Distribution
CP-49 | Distribution
CP-50 | Distribution
CP-51 | Distribution
CP-52 | Distribution
CP-53 | Distribution
CP-54 | Distribution
CP-55 | Distribution
CP-56 | Distribution
CP-57 | Distribution
CP-58 | Distribution
CP-59 | Distribution
CP-60 | Distribution
CP-61 | Distribution
CP-62 | Distribution
CP-63 | Distribution
CP-64 | Distribution
CP-65 | Distribution
CP-66 | Distribution
CP-67 | Distribution
CP-68 | Distribution
CP-69 | Distribution
CP-70 | Distribution
CP-71 | Distribution
CP-72 | Distribution
CP-73 | Distribution
CP-74 | Distribution
CP-75 | Distribution
CP-76 | Distribution
CP-77 | Distribution
CP-78 | Distribution
CP-79 | Distribution
CP-80 | Distribution
CP-81 | Distribution
CP-82 | Distribution
CP-83 | Distribution
CP-84 | Distribution
CP-85 | Distribution
CP-86 | Distribution
CP-87 | Distribution
CP-88 | Distribution
CP-89 | Distribution
CP-90 | Distribution
CP-91 | Distribution
CP-92 | Distribution
CP-93 | Distribution
CP-94 | Distribution
CP-95 | Distribution
CP-96 | Distribution
CP-97 | Distribution
CP-98 | Distribution
CP-99 | Distribution
CP-100 | Distribution
CP-101 | Distribution
CP-102 | Distribution
CP-103 | Distribution
CP-104 | Distribution
CP-105 | Distribution
CP-106 | Distribution
CP-107 | Distribution
CP-108 | Distribution
CP-109 | Distribution
CP-110 | Distribution
CP-111 | Distribution
CP-112 | Distribution
CP-113 | Distribution
CP-114 | Distribution
CP-115 | Distribution
CP-116 | Distribution
CP-117 | Distribution
CP-118 | Distribution
CP-119 | Distribution
CP-120 | Distribution
CP-121 | Distribution
CP-122 | Distribution
CP-123 | Distribution
CP-124 | Distribution
CP-125 | Distribution
CP-126 | Distribution
CP-127 | Distribution
CP-128 | Distribution
CP-129 | Distribution
CP-130 | Distribution
CP-131 | Distribution
CP-132 | Distribution
CP-133 | Distribution
CP-134 | Distribution
CP-135 | Distribution
CP-136 | Distribution
CP-137 | Distribution
CP-138 | Distribution
CP-139 | Distribution
CP-140 | Distribution
CP-141 | Distribution
CP-142 | Distribution
CP-143 | Distribution
CP-144 | Distribution
CP-145 | Distribution
CP-146 | Distribution
CP-147 | Distribution
CP-148 | Distribution
CP-149 | Distribution
CP-150 | Distribution
CP-151 | Distribution
CP-152 | Distribution
CP-153 | Distribution
CP-154 | Distribution
CP-155 | Distribution
CP-156 | Distribution
CP-157 | Distribution
CP-158 | Distribution
CP-159 | Distribution
CP-160 | Distribution
CP-161 | Distribution
CP-162 | Distribution
CP-163 | Distribution
CP-164 | Distribution
CP-165 | Distribution
CP-166 | Distribution
CP-167 | Distribution
CP-168 | Distribution
CP-169 | Distribution
CP-170 | Distribution
CP-171 | Distribution
CP-172 | Distribution
CP-173 | Distribution
CP-174 | Distribution
CP-175 | Distribution
CP-176 | Distribution
CP-177 | Distribution
CP-178 | Distribution
CP-179 | Distribution
CP-180 | Distribution
CP-181 | Distribution
CP-182 | Distribution
CP-183 | Distribution
CP-184 | Distribution
CP-185 | Distribution
CP-186 | Distribution
CP-187 | Distribution
CP-188 | Distribution
CP-189 | Distribution
CP-190 | Distribution
CP-191 | Distribution
CP-192 | Distribution
CP-193 | Distribution
CP-194 | Distribution
CP-195 | Distribution
CP-196 | Distribution
CP-197 | Distribution
CP-198 | Distribution
CP-199 | Distribution
CP-200 | Distribution
CP-201 | Distribution
CP-202 | Distribution
CP-203 | Distribution
CP-204 | Distribution
CP-205 | Distribution
CP-206 | Distribution
CP-207 | Distribution
CP-208 | Distribution
CP-209 | Distribution
CP-210 | Distribution
CP-211 | Distribution
CP-212 | Distribution
CP-213 | Distribution
CP-214 | Distribution
CP-215 | Distribution
CP-216 | Distribution
CP-217 | Distribution
CP-218 | Distribution
CP-219 | Distribution
CP-220 | Distribution
CP-221 | Distribution
CP-222 | Distribution
CP-223 | Distribution
CP-224 | Distribution
CP-225 | Distribution
CP-226 | Distribution
CP-227 | Distribution
CP-228 | Distribution
CP-229 | Distribution
CP-230 | Distribution
CP-231 | Distribution
CP-232 | Distribution
CP-233 | Distribution
CP-234 | Distribution
CP-235 | Distribution
CP-236 | Distribution
CP-237 | Distribution
CP-238 | Distribution
CP-239 | Distribution
CP-240 | Distribution
CP-241 | Distribution
CP-242 | Distribution
CP-243 | Distribution
CP-244 | Distribution
CP-245 | Distribution
CP-246 | Distribution
CP-247 | Distribution
CP-248 | Distribution
CP-249 | Distribution
CP-250 | Distribution
CP-251 | Distribution
CP-252 | Distribution
CP-253 |  | Transmission
CP-254 |  | Transmission
CP-255 |  | Transmission
CP-256 |  | Transmission
CP-257 |  | Transmission
CP-258 |  | Transmission
CP-259 |  | Transmission
CP-260 |  | Transmission
CP-261 |  | Transmission
CP-262 |  | Transmission
CP-263 |  | Transmission
CP-264 |  | Transmission
CP-265 |  | Transmission

## Definition-TH
Transport hub (TH) Table Definition
| Category | Description
Identification | TH-Number | For counting and reference purposes.
| Type | See TH types*
| Water Codes | Use "01" for Danube river; "02" for Adriatic sea; "03" for Black sea
| Owner Address | Company address of transport hub owner.
| Name | Short name of the TH (location or other relevant name). Should be able to process bulk loads. Should have facilities for covered storage. Of main interest are TH near assets, e.g., REPs, IPs, CPs, Biomass sources etc.
| Location long | Longitude coordinate
| Location lat | Latitude coordinate
Capacity | Transport hub capacity | [tons/year].
€ | Price | [€ per ton per kilometer]
(*) TH types
| TH | Types
| Transport hub types | Water-rail (W-RL)
Water-road (W-RD)
Rail-road (R-R)
Water-rail-road (W-R-R)
Other (O)
(**) Legend:
Mandatory fields -

## Table-TH-1of1
Identification
TH-ID | Type | Owner Address | Name | Location long | Location lat
TH-1 | Water-rail-road (W-R-R) | PORT BELGRADE, Zorza Klemansoa 37, Belgrade | PORT AREA BELGRADE | 20.4765 | 44.8246
TH-2 | Water-rail-road (W-R-R) | DP World, Carinska 1 , Novi Sad, Serbia | PORT AREA NOVI SAD | 19.8558 | 45.2684
TH-3 | Water-rail-road (W-R-R) | HBIS GROUP Serbia Iron & Steel d.o.o. Beograd. Bulevar Mihajla Pupina 6, NOVI BEOGRAD | PORT AREA SMEDEREVO | 20.9188 | 44.6661
TH-4 | Water-rail-road (W-R-R) | Republic of Serbia, Nemanjina 4, 11000 Belgrade, | PORT AREA PANCEVO | 20.6462 | 44.8458
TH-5 | Water-rail-road (W-R-R) | Elixir Prahovo, Brace Jugovica 2, Prahovo | PORT AREA PRAHOVO | 22.614 | 44.2905
TH-6 | Water-road (W-RD) | LUKA-BACKA PALANKA D.O.O., Industrijska zona 35, Backa Palanka | PORT AREA BACKA PALANKA | 19.4239 | 45.2391
TH-7 | Water-road (W-RD) | HIBRID DOO, Cara Nikolaja II 82-84, Beograd | PORT AREA BOGOJEVO | 19.0847 | 45.5273
TH-8 | Water-road (W-RD) | Lafarge d.o.o., Trg BFC 1, Beocin | PORT AREA BEOCIN | 19.7062 | 45.2109
TH-9 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Senta | 20.072 | 45.93
TH-10 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Vrbas | 19.6241 | 45.5736
TH-11 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Zrenjanin | 20.3788 | 45.3781
TH-12 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Backa Palanka | 19.3948 | 45.2596
TH-13 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Sremska Mitrovica | 19.6144 | 44.9824
TH-14 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Indjija | 20.0924 | 45.0488
TH-15 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Zemun | 20.3716 | 44.8364
TH-16 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Pozarevac | 21.1871 | 44.6141
TH-17 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Lapovo | 21.102 | 44.1579
TH-18 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Bor Teretna | 22.1253 | 44.06
TH-19 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Uzice teretna | 19.8587 | 43.8468
TH-20 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Pozega | 20.0293 | 43.8409
TH-21 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Cacak | 20.3565 | 43.89
TH-22 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Kraljevo | 20.6936 | 43.7288
TH-23 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Krusevac | 21.3275 | 43.5874
TH-24 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Aleksinac | 21.6936 | 43.5082
TH-25 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Nis | 21.8777 | 43.3164
TH-26 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Pirot | 22.5866 | 43.1697
TH-27 | Rail-road (R-R) | JSC Serbian Railways, Nemanjina 6, Belgrade | Leskovac | 21.9573 | 42.9963

## Definition-TL
Transnational link (TL) Table Definition
| Category | Description
Identification | TL-Number | For counting and reference purposes.
| Type | See TL types*
| Owner Address | Company address of transnational link owner.
| Name | Short name of the TL (location or other relevant name)
| Location long | Longitude coordinate
| Location lat | Latitude coordinate
Electricity | Voltage | Voltage [kV].
Gas | Pressure | [bar]
(*) TL types
| TL | Types
| Transnational link types | Electrical link (EL)
Gas link (GL)
(**) Legend:
Mandatory fields -

## Table-TL-1of1
Identification
TL-ID | Type | Owner Address | Name | Location long | Location lat
TL-1 | Gas link (GL) | JP „SRBIJAGAS“, Novi Sad, Bulevar oslobođenja 69, Serbia | Horgos-HUN | 20.0124 | 46.1747
TL-2 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Subotica 3-HUN | 19.7146 | 46.0393
TL-3 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Pancevo 2-ROU | 20.6669 | 44.8301
TL-4 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Sremska Mitrovica 2-HR-BIH | 19.6129 | 45.017
TL-5 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Nis 2-BGR | 21.9715 | 43.3018
TL-6 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Vranje 4-MKD | 21.9181 | 42.4929
TL-7 | Electrical link (EL) | AD Elektromreza Srbije Beograd, Kneza Milosa 11, Serbia | Bistrica-MNE | 19.7386 | 43.5173